Clinical Validation Plan

Multimodal COPD Exacerbation Risk Tool — Draft, Pre-Biostatistician-Review

Author: Anas Shawah'en | Companion document to the IRB Study Protocol

PILOT SAMPLE ONLY — NOT A CLINICAL STUDY. This document describes a methodological pilot sample used to demonstrate technical and analytical readiness. No real patient data has been used, collected, or accessed. Nothing in this document authorizes real-world clinical use.

# 1. Purpose and Relationship to the IRB Protocol

The IRB Study Protocol (docs/COPD_Study_Protocol_IRB_Draft.docx) governs data collection for model derivation/development. This document is distinct: it specifies how the resulting model's performance will be independently validated once real data exists — the step this project's synthetic-data pilot cannot substitute for. A model is not clinically credible on the strength of its derivation-cohort performance alone; validation on data the model has never influenced (directly or indirectly) is what the literature treats as the minimum bar for a prediction model to be taken seriously.

This plan follows the TRIPOD+AI reporting standard (Collins et al., BMJ 2024;385:e078378), the current cross-disciplinary standard for reporting both regression- and machine-learning-based clinical prediction models, superseding the original 2015 TRIPOD statement.

# 2. Model Locking (Prerequisite, Non-Negotiable)

Before any validation analysis begins, the model (features, preprocessing, hyperparameters, and decision threshold) must be fully “locked” — no further tuning permitted using validation-set outcomes. This directly extends the leak-free discipline already established in this project's derivation pipeline (src/dimensionality_reduction_leakfree.py): the failure mode this project already corrected once (fitting on data the evaluation should be blind to) applies at the validation-study level exactly as it applied at the cross-validation-fold level.

# 3. Validation Study Design

- Design: prospective cohort, temporally or geographically distinct from the derivation cohort described in the IRB protocol (e.g., a later enrollment window at the same site, or a second site if the project expands to multi-center).

- Outcome definition: identical to derivation — moderate/severe AECOPD within 90 days, adjudicated by treating physician / chart review (per ATS/ERS criteria), to avoid outcome-definition drift between derivation and validation.

- Blinding: model predictions must not be shown to treating clinicians during the validation phase (silent/shadow mode) — otherwise the model could influence the very outcomes it is being validated against.

# 4. Statistical Analysis Plan — Pre-Specified Metrics and Thresholds

Pre-specifying success thresholds before seeing validation data is what separates a validation study from a second derivation exercise dressed up as one.

| Domain | Metric | Pre-specified success threshold |
| --- | --- | --- |
| Discrimination | AUC-ROC with 95% CI (DeLong or bootstrap, 2000 resamples) | Lower bound of 95% CI > 0.70 |
| Discrimination | Sensitivity & specificity at the pre-locked risk threshold | Sensitivity ≥ 0.80 at the pre-specified operating point (favoring sensitivity given ED/pre-hospital triage use) |
| Calibration | Calibration plot: observed vs. predicted risk deciles | Visual inspection + calibration-in-the-large near 0 |
| Calibration | Calibration slope (ideal = 1.0) | 0.8 – 1.2 |
| Clinical utility | Decision curve analysis vs. “treat all” / “treat none” | Net benefit exceeds both defaults across a clinically plausible threshold range |
| Comparative benchmark | AUC vs. a simple existing clinical score (e.g., DECAF or treating clinician's gestalt risk rating) | Model AUC not inferior to benchmark (non-inferiority margin: 0.05 AUC) |

# 5. Comparative Benchmark

A model is only clinically useful if it outperforms what clinicians already have. The validation plan therefore requires a head-to-head comparison against at least one existing simple alternative, to be finalized with clinical co-investigators — candidates include the DECAF score, the BAP-65 score, or simply the treating clinician's unaided risk estimate (e.g., a 0–100 gestalt rating captured before the model's prediction is available, in the same shadow-mode visit).

# 6. Sample Size for Validation

This is a materially different calculation from the derivation sample size in the IRB protocol — validation studies need enough observed events (not just patients) to bound the confidence interval on AUC and calibration tightly enough to be decisive.

| Parameter | Value | Basis |
| --- | --- | --- |
| Anticipated model AUC (from pilot) | 0.70 – 0.80 | Internal synthetic pilot (src/model_comparison.py) |
| Minimum events needed (Riley et al. criteria for external validation) | ≥ 100 events (exacerbations) | Standard rule of thumb for stable CI width on AUC/calibration in validation studies |
| Estimated event rate | ~35–40% | Consistent with pilot label prevalence; to be confirmed from real-world chart review |
| Implied minimum validation cohort | ~250–300 patients | 100 events / ~0.35 event rate |
| Relationship to IRB protocol target (150–175) | IRB target covers derivation; a separate/extended cohort is likely needed for a properly independent validation set | To be reconciled with biostatistician — see §7 |

As with the derivation sample-size table, this is a working estimate and must be finalized with a biostatistician before this becomes a formal protocol amendment.

# 7. Missing Data and Sensitivity Analyses

- Primary analysis: complete-case, reported alongside the missingness rate per variable (a rate above ~10% on any predictor triggers a documented multiple-imputation sensitivity analysis).

- Pre-specified subgroup checks: performance by sex, by smoking status, and by baseline severity (FEV1 tertile) — reported descriptively, not used to justify post-hoc model changes.

- Audio-quality sensitivity check: performance stratified by in-app recording quality flag (see Architecture Design Document §4) — to quantify whether poor-quality recordings meaningfully degrade real-world performance versus the clean synthetic clips used in the pilot.

# 8. Human Factors / Usability Validation

Distinct from statistical validation: before real clinical use, the fail-safe UX principle (Architecture Design Document §4) itself needs empirical testing — e.g., a simulation-based usability study confirming that clinicians under realistic time pressure correctly interpret the risk score as decision support, not as a diagnosis, and do not exhibit automation bias (over-trusting the score) or alarm fatigue (ignoring it) in mocked emergency scenarios.

# 9. Reporting

Regardless of outcome (including a null or underpowered result), the validation study will be written up following the TRIPOD+AI 27-item checklist, and the completed checklist itself will be included as a supplementary file — both because it is increasingly required by journals for prediction-model manuscripts, and because current adherence in the field is poor (reported at roughly 28% for ML-based prediction studies), which is itself an opportunity: full adherence is a low-cost way to differentiate this work's rigor.

# 10. Explicit Non-Goals of This Validation Phase

- This validation plan does NOT constitute a clinical trial of the tool changing patient outcomes (that would be a separate, later-phase interventional study, e.g., a randomized trial of clinician decisions with vs. without the tool).

- It does NOT authorize clinical use of the tool's output for real patient management — shadow-mode only, per §3.

- It does NOT replace the regulatory validation evidence a formal FDA/EU MDR submission would separately require (see docs/Regulatory_Classification_Memo.docx) — it is a necessary step toward that, not a substitute for it.